Option2 uploaded template ( 5 page A4 limit)

Beamline Name:

- Science case

- Motivation

- Expected Impact on related research fields

- Innovation（optional）

- Description of key experimental methods

2.1 Description of key experimental methods

2.2 Utilization of the HEPS characteristics (high energy, high brightness, high coherence)

- Beamline design

3.1 Layout of beamline and experimental station

- Brief description to beamline and experimental station

- Optics design and layout

- Experimental station design and layout

3.2  X-ray optics design

- Source requirement: bending magnet, undulator, wiggler

- Energy range

- Photon flux required (coherent flux)

- Energy scanning range

- Energy resolution：monochromatic, pink beam, white beam

- Focusing requirement

- Coherence requirement (optional)

- Stability requirement

- others

3.3 Experimental station design

- Sample manipulation：Diffractometer, Rotation stage, etc.

- Sample or in-situ Sample environment: Temperature, Pressure, in-situ environment, etc.

- Stability requirement

- Detector requirement：point/area detector, Area detector(pixel size/number, frame rate, etc.)

- Data acquisition:：Data generation estimation (peak GB/s, TB/day)

- Data analysis：on-line data analysis software requirement, Computing power requirement for online data analysis（CPU/GPU performance and number）

3.4 Utilities requirement

- Beamline：Cooling water，Compressed gas，Electricity，Cryogenic、Lifting capacity， others

- Experimental station：cooling water, Compressed gas, Electricity, Cryogenic, Lifting capability, others

- Reference

Notice：

HEPS is a national facility for public research, open to users around the world. For the beamlines constructed and invested by the users, at least 30% beam time must be allocated to the public beamtime. Besides the beamline construction investment, the operation cost is also supported by the investor (less than 10% of the beamline cost)